**12 VOLT 30 AMP 115/230 VOLT SWITCHABLE AC POWER SUPPLY INFO**

 **NOTE SWITCH POSITION RELATIVE TO THE HOUSING**

**USE A MIRROR WHEN INSIDE A CASE, WITH A FLASHLIGHT AND “DENTAL PICK” INSTRUMENT IF NEEDED**

**AC INPUT: L=LINE INPUT (BLACK) N=NEUTRAL (WHITE) GROUND = GREEN**

**+/- EACH HAVE 3 SCREWS, EACH CAN HOLD 2 WIRES FOR A TOTAL OF 6 OUTPUTS**

**QUESTIONS? CALL OR EMAIL FOR ALL TECH SUPPORT**

**CALL 310.534.4456 OR** **ADMIN@EEONTHEWEB.COM**